Climate Change Preparedness and Resiliency Checklist for New Construction

In November 2013, in conformance with the Mayor's 2011 Climate Action Leadership Committee's recommendations, the Boston Redevelopment  Authority adopted policy for all development projects subject to Boston Zoning Article 80 Small and Large Project Review, including all Institutional Master Plan modifications and updates, are to complete the following checklist and provide any necessary responses regarding project resiliency, preparedness, and to mitigate any identified adverse impacts that might arise under future climate conditions.

For more information about the City of Boston's climate policies and practices, and the 2011 update of the climate action plan, A Climate of Progress, please see the City's climate action web pages at http://www.cityofboston.gov/climate

In advance we thank you for your time and assistance in advancing best practices in Boston.

Climate Change Analysis and Information Sources:

- Northeast Climate Impacts Assessment (www.climatechoices.org/ne/)

- USGCRP 2009 (http://www.globalchange.gov/publications/reports/scientific-assessments/us-impacts/)

- Army Corps of Engineers guidance on sea level rise (http://planning.usace.army.mil/toolbox/library/ECs/EC11652212Nov2011.pdf)

- Proceeding of the National Academy of Science, “Global sea level rise linked to global temperature”, Vermeer and Rahmstorf, 2009 (http://www.pnas.org/content/early/2009/12/04/0907765106.full.pdf)

- “Hotspot of accelerated sea-level rise on the Atlantic coast of North America”,  Asbury H. Sallenger Jr*, Kara S. Doran and Peter A. Howd, 2012  (http://www.bostonredevelopmentauthority.org/ planning/Hotspot of Accelerated Sea-level Rise 2012.pdf)

- “Building Resilience in Boston”: Best Practices for Climate Change Adaptation and Resilience for Existing Buildings, Linnean Solutions, The Built Environment Coalition, The Resilient Design Institute, 2103  (http://www.greenribboncommission.org/downloads/Building_Resilience_in_Boston_SML.pdf)

Checklist

Please respond to all of the checklist questions to the fullest extent possible.  For projects that respond “Yes” to any of the D.1 – Sea-Level Rise and Storms, Location Description and Classification questions, please respond to all of the remaining Section D questions.

Checklist responses are due at the time of initial project filing or Notice of Project Change and final filings just prior seeking Final BRA Approval.  A PDF of your response to the Checklist should be submitted to the Boston Redevelopment Authority via your project manager.

Please Note: When initiating a new project, please visit the BRA web site for the most current Climate Change Preparedness & Resiliency Checklist.

Climate Change Resiliency and Preparedness Checklist

| A.1 - Project Information |
| --- |
| Project Name: |  |
| Project Address Primary: |  |
| Project Address Additional: |  |
| Project Contact (name / Title / Company / email / phone): |  |
| A.2 - Team Description |
| Owner / Developer: |  |
| Architect: |  |
| Engineer (building systems): |  |
| Sustainability / LEED: |  |
| Permitting: |  |
| Construction Management: |  |
| Climate Change Expert: |  |
| A.3 - Project Permitting and Phase |
| At what phase is the project – most recent completed submission at the time of this response? |
|  | PNF / Expanded PNF Submission | Draft / Final Project Impact Report Submission | BRA Board Approved | Notice of Project Change |
|  | Planned Development Area | BRA Final Design Approved | Under Construction | Construction just completed: |
| A.4 - Building Classification and Description |
| List the principal Building Uses: |  |
| List the First Floor Uses: |  |
| What is the principal Construction Type – select most appropriate type? |
|  |  | Wood Frame | Masonry | Steel Frame | Concrete |
| Describe the building? |
| Site Area: | SF | Building Area: | SF |
| Building Height: | Ft. | Number of Stories: | Flrs. |
| First Floor Elevation (reference Boston City Base): | Elev. | Are there below grade spaces/levels, if yes how many: | No / Number of Levels |
| A.5 - Green Building |
| Which LEED Rating System(s) and version has or will your project use (by area for multiple rating systems)? |
| Select by Primary Use: | New Construction | Core & Shell | Healthcare | Schools |
|  |  | Retail | Homes Midrise | Homes | Other |
| Select LEED Outcome: | Certified | Silver | Gold | Platinum |
| Will the project be USGBC Registered and / or USGBC Certified? |
|  | Registered: | Yes / No |  | Certified: | Yes / No |
| A.6 - Building Energy |
| What are the base and peak operating energy loads for the building? |
| Electric: | (kW) | Heating: | (MMBtu/hr) |
| What is the planned building Energy Use Intensity: | (kbut/SF or kWh/SF) | Cooling: | (Tons/hr) |
| What are the peak energy demands of your critical systems in the event of a service interruption? |
| Electric: | (kW) | Heating: | (MMBtu/hr) |
|  |  | Cooling: | (Tons/hr) |
| What is nature and source of your back-up / emergency generators? |
| Electrical Generation: | (kW) | Fuel Source: |  |
| System Type and Number of Units: | Combustion Engine | Gas Turbine | Combine Heat and Power | (Units) |

| B - Extreme Weather and Heat Events |
| --- |
| Climate change will result in more extreme weather events including higher year round average temperatures, higher peak temperatures, and more periods of extended peak temperatures. The section explores how a project responds to higher temperatures and heat waves. |
| B.1 - Analysis |
| What is the full expected life of the project? |
| Select most appropriate: | 10 Years | 25 Years | 50 Years | 75 Years |
| What is the full expected operational life of key building systems (e.g. heating, cooling, ventilation)? |
| Select most appropriate: | 10 Years | 25 Years | 50 Years | 75 Years |
| What time span of future Climate Conditions was considered? |
| Select most appropriate: | 10 Years | 25 Years | 50 Years | 75 Years |
| Analysis Conditions - What range of temperatures will be used for project planning – Low/High? |
|  | / Deg. |  |  |  |
| What Extreme Heat Event characteristics will be used for project planning – Peak High, Duration, and Frequency? |
|  | Deg. | Days | Events / yr. |  |
| What Drought characteristics will be used for project planning – Duration and Frequency? |
|  | Days | Events / yr. |  |  |
| What Extreme Rain Event characteristics will be used for project planning – Seasonal Rain Fall, Peak Rain Fall, and Frequency of Events per year? |
|  | Inches / yr. | Inches | Events / yr. |  |
| What Extreme Wind Storm Event characteristics will be used for project planning – Peak Wind Speed, Duration of Storm Event, and Frequency of Events per year? |
|  | Peak Wind | Hours | Events / yr. |  |
| B.2 - Mitigation Strategies |
| What will be the overall energy performance, based on use, of the project and how will performance be determined? |
| Building energy use below code: | % |  |  |
| How is performance determined: |  |
| What specific measures will the project employ to reduce building energy consumption? |
| Select all appropriate: | High performance building envelop | High performance lighting & controls | Building day lighting | EnergyStar equip. / appliances |
|  |  | High performance HVAC equipment | Energy recovery ventilation | No active cooling | No active heating |
| Describe any added measures: |  |
| What are the insulation (R) values for building envelop elements? |
|  | Roof: | R = | Walls / Curtain Wall Assembly: | R = |
|  | Foundation: | R = | Basement / Slab: | R = |
|  | Windows: | R = / U = | Doors: | R = / U = |
| What specific measures will the project employ to reduce building energy demands on the utilities and infrastructure? |
|  |  | On-site clean energy / CHP system(s) | Building-wide power dimming | Thermal energy storage systems | Ground source heat pump |
|  |  | On-site Solar PV | On-site Solar Thermal | Wind power | None |
| Describe any added measures: |  |
| Will the project employ Distributed Energy / Smart Grid Infrastructure and /or Systems? |
| Select all appropriate: | Connected to local distributed electrical | Building will be Smart Grid ready | Connected to distributed steam, hot, chilled water | Distributed thermal energy ready |
| Will the building remain operable without utility power for an extended period? |
|  |  | Yes / No | If yes, for how long: | Days |
| If Yes, is building “Islandable? |  |
| If Yes, describe strategies: |  |
| Describe any non-mechanical strategies that will support building functionality and use during an extended interruption(s) of utility services and infrastructure: |
| Select all appropriate: | Solar oriented – longer south walls | Prevailing winds oriented | External shading devices | Tuned glazing, |
|  | Building cool zones | Operable windows | Natural ventilation | Building shading |
|  | Potable water for drinking / food preparation | Potable water for sinks / sanitary systems | Waste water storage capacity | High Performance Building Envelop |
| Describe any added measures: |  |
| What measures will the project employ to reduce urban heat-island effect? |
| Select all appropriate: | High reflective paving materials | Shade trees & shrubs | High reflective roof materials | Vegetated roofs |
| Describe other strategies: |  |
| What measures will the project employ to accommodate rain events and more rain fall? |
| Select all appropriate: | On-site retention systems & ponds | Infiltration galleries & areas | vegetated water capture systems | Vegetated roofs |
| Describe other strategies: |  |
| What measures will the project employ to accommodate extreme storm events and high winds? |
| Select all appropriate: | Hardened building structure & elements | Buried utilities & hardened infrastructure | Hazard removal & protective landscapes | Soft & permeable surfaces (water infiltration) |
| Describe other strategies: |  |

| C - Sea-Level Rise and Storms |
| --- |
| Rising Sea-Levels and more frequent Extreme Storms increase the probability of coastal and river flooding and enlarging the extent of the 100 Year Flood Plain. This section explores if a project is or might be subject to Sea-Level Rise and Storm impacts. |
| C.1 - Location Description and Classification: |
| Do you believe the building to susceptible to flooding now or during the full expected life of the building? |
|  |  | Yes / No |  |  |
| Describe site conditions? |
| Site Elevation – Low/High Points: | Boston City Base Elev.( Ft.) |  |  |  |
| Building Proximity to Water: | Ft. |  |  |  |
| Is the site or building located in any of the following? |
|  | Coastal Zone: | Yes / No | Velocity Zone: | Yes / No |
|  | Flood Zone: | Yes / No | Area Prone to Flooding: | Yes / No |
| Will the 2013 Preliminary FEMA Flood Insurance Rate Maps or future floodplain delineation updates due to Climate Change result in a change of the classification of the site or building location? |
|  | 2013 FEMA Prelim. FIRMs: | Yes / No | Future floodplain delineation updates: | Yes / No |
| What is the project or building proximity to nearest Coastal, Velocity or Flood Zone or Area Prone to Flooding? |
|  |  | Ft. |  |  |
| If you answered YES to any of the above Location Description and Classification questions, please complete the following questions. Otherwise you have completed the questionnaire; thank you! |
| C - Sea-Level Rise and Storms |
| This section explores how a project responds to Sea-Level Rise and / or increase in storm frequency or severity. |
| C.2 - Analysis |
| How were impacts from higher sea levels and more frequent and extreme storm events analyzed: |
| Sea Level Rise: | Ft. | Frequency of storms: | per year |
| C.3 - Building Flood Proofing |
| Describe any strategies to limit storm and flood damage and to maintain functionality during an extended periods of disruption. |
| What will be the Building Flood Proof Elevation and First Floor Elevation: |
| Flood Proof Elevation: | Boston City Base Elev.( Ft.) | First Floor Elevation: | Boston City Base Elev. ( Ft.) |
| Will the project employ temporary measures to prevent building flooding (e.g. barricades, flood gates): |
|  | Yes / No | If Yes, to what elevation | Boston City Base Elev. ( Ft.) |
| If Yes, describe: |  |  |  |  |
| What measures will be taken to ensure the integrity of critical building systems during a flood or severe storm event: |
|  | Systems located above 1st Floor. | Water tight utility conduits | Waste water back flow prevention | Storm water back flow prevention |
| Were the differing effects of fresh water and salt water flooding considered: |
|  | Yes / No |  |  |  |
| Will the project site / building(s) be accessible during periods of inundation or limited access to transportation: |
|  | Yes / No | If yes, to what height above 100 Year Floodplain: | Boston City Base Elev. (Ft.) |
| Will the project employ hard and / or soft landscape elements as velocity barriers to reduce wind or wave impacts? |
|  | Yes / No |  |  |  |
| If Yes, describe: |  |  |  |  |
| Will the building remain occupiable without utility power during an extended period of inundation: |
|  | Yes / No | If Yes, for how long: | days |
| Describe any additional strategies to addressing sea level rise and or sever storm impacts: |
| C.4 - Building Resilience and Adaptability |
| Describe any strategies that would support rapid recovery after a weather event and accommodate future building changes that respond to climate change: |
| Will the building be able to withstand severe storm impacts and endure temporary inundation? |
| Select appropriate: | Yes / No | Hardened / Resilient Ground Floor Construction | Temporary shutters and or barricades | Resilient site design, materials and construction |
| Can the site and building be reasonably modified to increase Building Flood Proof Elevation? |
| Select appropriate: | Yes / No | Surrounding site elevation can be raised | Building ground floor can be raised | Construction been engineered |
| Describe additional strategies: |  |  |  |  |
| Has the building been planned and designed to accommodate future resiliency enhancements? |
| Select appropriate: | Yes / No | Solar PV | Solar Thermal | Clean Energy / CHP System(s) |
|  |  | Potable water storage | Wastewater storage | Back up energy systems & fuel |
| Describe any specific or additional strategies: |  |  |  |  |

Thank you for completing the Boston Climate Change Resilience and Preparedness Checklist! 

For questions or comments about this checklist or Climate Change Resiliency and Preparedness best practices, please contact: John.Dalzell.BRA@cityofboston.gov